Outdoor Monochromatic White Linear Light

-Suitable for outdoor lighting applications of building facades that requires integration with steel structures and fixture completely hidden during the day

L2-WS48

Product Dimensions

Light Distribution Curve

（White 5000K and 85° beam angle /130° full angle）

Technical Parameters

| Product model | Maximum input power | Luminous flux | Working voltage | Beam angle |
| --- | --- | --- | --- | --- |
| PWL2-WS48-85AU0000-9D24 | 9W | 728lm | DC24V | 85° |

Related Information

Material:              Lamp housing: 6063 aviation aluminum

Surface Treatment:	    Anti-corrosion treatment + 200˚C pyrolytic coating

Housing Color:	    Gray-black  (customizable to building color)

Pixel:                  --

Net Weight (kg):		0.72/pcs

Gross Weight (kg):		0.79/pcs

Packing Size (mm):		1070*398*316 （36pcs /carton）

Working Temperature:	-35℃～50℃

Storage Temperature:	-40℃～70℃

# Text boxes

Integration of luminaires and building with seamless splicing of light

Integration of optical lenses and luminaires

Ultra-narrow shape design

Connection cables that can be hidden